1116K INSTRUCTOR’S DESK

ASSEMBLY INSTRUCTIONS

TABLE OF CONTENTS

PAGE

REVISONS TABLE………………………………………………………………………………………………………………………………………………………………………………………………………………….……………………………………………………………………………………..…………………………………1

ASSEMBLY COMPONENTS………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………...………………2

BASE ASSEMBLY………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………4

BACK PANEL ASSEMBLY…………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………….…………………………4

APRON RAIL ASSEMBLY………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………….…………………………………….…………………5

TOP ASSEMBLY………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………5

SINK ASSEMBLY……………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………….…………………………………6

FIXTURE ASSEMBLY………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………6

ROD SOCKET ASSEMBLY…………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………….…………………………………………6

BASE MOULDING ASSEMBLY………………………………………………………………………………………………………………………………………………………………………………………………………….………………………………..………..……………………………7

PULL ASSEMBLY………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………….………………………………………………………………………8

ASSEMBLY COMPONENTS

| ITEMS INCLUDED IN HARDWARE BOX | PART # |  | PART # |
| --- | --- | --- | --- |
| 1-ASSEMBLY INSTRUCTIONS |  | 1-HARDWARE BOX |  |
| 24 FT RUBBER BASE | 100283 | 2-UPRIGHT RODS 3/4 DIA. X 36 L. | 100004 |
| 1-ELECTRICAL BOX, 2X2.5 | 100033 | 1-CROSSBAR ROD, 3/4 DIA. X 48 L. | 100006 |
| 1-GFI ELECTRIC OUTLET | 100034 | 1-FIXTURE,L414 HOT & COLD MIXING | 100467 |
| 4-SCREWS, 6X1/2 PPH | 100475 | 1-EPOXY SINK, L30 BLK | 100699 |
| 2-ROD SOCKET ASSEMBLY | 206505 | 1-EPOXY TOP, 30 X 96, BLK, FIXT | 100497 |
| 2-ROD CLAMP/4-THUMB SCREWS | 100002/100490 | 1-APRON WITH ELECT. 4.5X22 | 211289 |
| 6-STAINLESS STEEL CORNERS | 100057 | 1-BACK PANEL, 94X35 | 212671 |
| 24-STAINLESS STEEL SCREWS, 6X1/2 | 100064 | 1-FIXTURE,L4100FH-132AWSA 90 DEGREE | 100048 |
| 1-OUTLET/STRAINER EPOXY,BLK | 100055 | 16-SQ. WASHER FLAT HEAD SCREW 8X1 1/4 | 100478 |
| 1-PLASTIC ADJ SINK TRAP | 100056 | 8-TRUSS HEAD SCREWS, 8 X 3/4 | 100649 |
| 1-SINK STOPPER 1 1/2, BLK | 100112 | 2-CLEAT RAILS | 100355 |
| 1-CLEAR SILICONE SEALENT | 100711 |  |  |

REV	                                                 DESCRIPTION			                  DATE      INITIAL

| --- | Original Created | 2-28-07 | JWD |
| --- | --- | --- | --- |
|  | Hardware updated | 5-13-09 | NAM |

# Assembly Instructions for

# 1116K  Instructor’s Desk

Items not included but needed for assembly:

- Screwdrivers and Wrenches

- Liquid Nail or silicone adhesive (can be found in hardware stores)

- Contact Cement

- Tape measure

Instructions:

- Place the cupboard cabinet centered over the plumbing and gas.

- Place the second cabinet in line with the cupboard cabinet leaving a 22” space between the cabinets for the back panel.

- Attach back panel to the back of the cabinets using the cleats and #8 x 1-1/4” phil pan head screws provided. It is recommended that one person hold the back panel in place while a second person actually attaches the panel.  Make sure back panel is flush with the outside edges of the cabinets.

- Attach front apron between cabinets using the cleats and the 100649 #8 x ¾” screws provided. For aesthetic purposes you may want to set the apron in 1”.

- Outline the top of the base unit with the Liquid Nail or silicone adhesive and place top on the unit. Let cure. Be sure to center the top on the base unit before the glue dries.

- Clean the top with water only. Be sure the area the sink is dropped in is clean and dry.

- Put a bead of silicone seal along the cutout for the sink on the top. Lower sink in place.

- Mount fixtures into place.

- (If Applicable) Assemble the Rod Socket Assembly as shown in Figure 9A.

(If Applicable) Attach Rod Sockets to Top as shown in Figure 9B.

Figure 9A

Figure 9B

10.  Attach the rubber base molding using contact cement. After the molding is in place; screw stainless steel corner brackets on each corner using the (100064) #6 x ½” screws provided, over the base molding.

Reverse pulls to the exterior of unit as shown.

- All water, electrical and gas connections should be performed by a trained professional.