3303K CLEAN UP SINK

ASSEMBLY INSTRUCTIONS

*Model views may not represent exact model purchased

TABLE OF CONTENTS

REVISONS TABLE_____________________________________3

ASSEMBLY COMPONENTS_____________________________3

FIXTURE ASSEMBLY__________________________________4

BASE MOULDING ASSEMBLY _________________________5

ASSEMBLY COMPONENTS

| ITEMS INCLUDED | PART # |  | PART # |
| --- | --- | --- | --- |
| ASSEMBLY INSTRUCTIONS |  | 1-HARDWARE BOX |  |
| 8-SHELF CLIPS | 100027 | 1-FIXTURE, L414 HOT&COLD MIXING | 100467 |
| 1-SINK TRAP, PLASTIC ADJ | 100056 | 2-SHELF ADJ | 208245-1218 |
| 8.7-FT RUBBER BASE | 100283 | 8-SCREWS, #6X1/2, SS PTH | 100064 |
| 2-CORNERS, STAINLESS STEEL | 100057 |  |  |

REV                                 DESCRIPTION                                DATE

| --- | Original Created | 5-15-09 | NAM |
| --- | --- | --- | --- |

# Assembly Instructions for

# 3303K Clean–Up Station

Items not included but needed for assembly:

- Contact Cement

Instructions:

- Place the base unit over the plumbing hook-up.

- Mount fixtures into place.

- Attach the rubber base molding using contact cement. After molding is in place, screw stainless steel corner brackets on each corner over the base molding.

- Hook up the water and drain. This should be done by a professional.