4751K MOBILE DESK

ASSEMBLY INSTRUCTIONS

*Model views may not represent exact model purchased

TABLE OF CONTENTS

PAGE

REVISIONS TABLE…………………………………………………………………………………………………………………….…………………..……….…………..……….…………………………………...………..……………………………3

ASSEMBLY COMPONENTS…………………………………………………………………………………………………………………….…………………..……….……….……………...…………………………………………3

CASTER ASSEMBLY…………………………………………………………………………………….…………………..……….……………………………..……….…………………………………….……………………………………………4

PULL ASSEMBLY…………………………………………………………………………………………………………………….…………………..……….…..……….…………….……………………..………………..………………………….………5

ASSEMBLY COMPONENTS

| ITEMS INCLUDED | PART # |  | PART # |
| --- | --- | --- | --- |
| 4-SWIVEL TOP PLATE CASTERS | 100081 | 1-HARDWARE BOX |  |
| 1-CASTER HARDWARE ASSEMBLY | 206509 | 21-TOTE TRAYS, T-188 | 100135 |

REV	                                                 DESCRIPTION			                  DATE      INITIAL

| --- | Original Created | 6-22-09 | NAM |
| --- | --- | --- | --- |

# Assembly Instructions for

4751K MOBILE DESK

Items not included but needed for assembly:

- ½” Wrench

- Adjustable pliers

Instructions:

- Attach the (4) 100081 4” Swivel Top Plate, W/Brake Casters into place using the (16) 100488 Screw, ¼” - 20X1 ¼” slotted flat, (16) 218589 Washer, ¼” Flat, Zinc Plated & the (16) 100483 Nut, ¼” - 20 Hex Zinc into the bottom of the base as shown.

Figure 1

Figure 1A Detail

- Reverse Pulls to Exterior of unit.

- Clean top with water only.